2024 Annual Drinking Water Quality Report

(Consumer Confidence Report)

Annual Water Quality Report for the period of January 1 to December 31, 2024. This report is intended to provide you with important information about your drinking water and the efforts made by the water system to provide safe drinking water.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.

The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline at (800) 426-4791. For more information regarding this report contact:

Billy Burgan of the Public Works Department at (940) 668-4540

En Espanol

Este informe incluye informacion importante sobre el agua potable. Si tiene preguntas o comentarios sobre este informe en espanol, favor de llamar al tel. (940) 668-4540 para hablar con una persona bilingue en espanol.

_______________________________________

SPECIAL NOTICE

Immuno-compromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; people with HIV/AIDS or other immune system disorders, some elderly persons and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.

EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline at (800) 426-4791.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We cannot control the variety of material used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods and steps you can

take to minimize exposure is available from the Safe Drinking Water Hotline or at  http://www.epa.gov/safewater/lead

Our Drinking Water Meets or Exceeds All Federal (EPA) Drinking Water Requirements

This report is a summary of the quality of the water we provide our customers. The analysis was made by using the data from the most recent U.S. Environmental Protection Agency (EPA) required tests and is presented in the attached pages. We hope this information helps you become more knowledgeable about what’s in your drinking water.

The Texas Commission on Environmental Quality has rated our WATER Supply SUPERIOR.

WATER SOURCES: The source of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals, and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or human activity. Contaminants that may be present in source water before treatment include: microbes, inorganic contaminants, pesticides, herbicides, radioactive contaminants, and organic chemical contaminants.

Where do we get our drinking water?

Our drinking water is obtained from GROUND water and SURFACE water sources. It comes from the ANTLERS Aquifer and the Hubert H. Moss Lake respectively. The TCEQ completed an assessment of your source water and results indicate that some of your sources are susceptible to certain contaminants. The sampling requirements for your water system are based on this susceptibility and previous sample data. Any detections of these contaminants may be found in this Consumer Confident Report. For more information on source water assessments and protection efforts at our system, Contact Billy Burgan at (940) 668-4577.

Public Participation Opportunities

Date: June 3, 2025

Time: 6:30 P.M.

Location: MUNICIPAL BUILDING. 200 SOUTH RUSK, GAINESVILLE, TEXAS

Phone No: (940) 668-4500

ALL Drinking Water may contain Contaminants.

When drinking water meets federal standards there may not be any health-based benefits to purchasing bottled water or point of use devices. Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791)

Secondary Constituents

Many constituents (such as calcium, sodium, or iron) which are often found in drinking water, can cause taste, color and odor problems. The taste and odor constituents are called secondary constituents and are regulated by the State of Texas, not the EPA. These constituents are not causes for health concern. Therefore, secondaries are not required to be reported in this document but they may greatly affect the appearance and taste of your water.

About the following pages

The pages that follow list all of the federally regulated or monitored contaminants which have been found in your drinking water. The U.S. EPA requires water systems to test for up to 97 contaminants. If contaminants tested for were below detection limits they will not be listed in this report.

DEFINITIONS

Maximum Contaminant Level (MCL)

The highest permissible level of a contaminant in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG)

The level of a contaminant in drinking water below which there is no known or expected health risk. MCLGs allow for a margin of safety.

Maximum Residual Disinfection Level (MRDL)

The Highest level of disinfection allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contamination.

Maximum Residual Disinfection Level Goal (MRDLG)

The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

Treatment Technique (TT)

A required process intended to reduce the level of a contaminant in the drinking water.

Action Level (AL)

The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Level 1 Assessment:                                                                 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

Level 2 Assessment:		                                              A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

ABBREVIATIONS

NTU- Nephelometric Turbidity Unit

MFL- million fibers per liter (a measure of asbestos)

pCi/L- picocuries per liter (a measure of radioactivity)

ppm- parts per million, or milligrams per a liter (mg/L)

ppb- parts per billion, or micrograms per a liter

ppt- parts per trillion, or nanograms per a liter

ppq- parts per quadrillion, or picograms per liter

µg/L- micrograms per liter

| Lead and Copper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper | August 2024 | 1.3 | 1.3 | .216 | 0 | ppm | N | Erosion of Natural Deposits; leaching from wood preservatives; Corrosion of household plumbing |
| Lead | August 2024 | 0 | 15 | 2.3 | 0 | ppb | N | Corrosion of household Plumbing systems; Erosion of natural deposits |

2023 Water Quality Test Results

| Disinfection By-Products | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Haloacitic Acids (HAA5) | 2024 | 28 | 0-59.3 | No Goal for the total | 60 | ppb | N | Bi-Products of drinking water disinfection |
| Total Trihalomethanes (TTHM) | 2024 | 51 | 2.67-88.5 | No Goal for the total | 80 | ppb | N | Bi-Products of drinking water disinfection |

*The Value in the Highest Level or Average Detected column is the highest average of all TTHM sample results collected at a location over a year

| Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chromium | 2024 | 4.2 | 4.2-4.2 | 100 | 100 | ppb | N | Discharge from steel and pulp mills; Erosion of natural deposits. |
| Barium | 2024 | 0.023 | 0.023-0.023 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Fluoride | 2024 | 0.1 | 0.0962-0.0962 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
| Nitrate (measured as Nitrogen) | 2024 | 0.0618 | 0.0182-0.0618 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks; sewage; Erosion of natural deposits |

| Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Combined Radium 226/228 | 10/23/2023 | 1.5 | 1.5 - 1.5 | 0 | 5 | pCi/L | N | Erosion of natural deposits. |

| Synthetic organic contaminants including pesticides and herbicides | Collection Date | Highest Level Detected | Range of Individual Samples | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Di (2-ethylhexyl) phthalate rrrr hhhhhhh | 2024 | 2 | 0 – 1.9 | 0 | 6 | ppb | N | Discharge from rubber and chemical factories |

Disinfectant Residual

| Disinfection Residual | Year | Average Level | Range of Levels Detected | MRDL | MRDLG | Unit of Measure | Violation | Source in Drinking Water |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Free Chlorine | 2024 | .93 | .50-1.65 | 4 | 4 | mg/l | N | Water additive used to control microbes |

Turbidity

|  | Level Detected | Limit (Treatment Technique) | Violation | Likely Source of Contamination |
| --- | --- | --- | --- | --- |
| Highest single measurement | 0.09 NTU | 1 NTU | N | Soil runoff |
| Lowest monthly % meeting limit | 100% | 0.3 NTU | N | Soil runoff |

Information Statement: Turbidity is a measurement of the cloudiness of the water caused by suspended particles. We monitor it because it is a good indicator of water quality and the effectiveness of our filtration system and disinfectants.

Total Organic Carbon

The percentage of Total Organic Carbon (TOC) removal was measured each month and the system met all TOC removal requirements.

Coliform Bacteria

During the 2024 monitoring for Cryptosporidium, City of Gainesville collected 240 routine samples. All samples reported no detection. The treatment processes employed at the City of Gainesville water treatment plant and well sites are effective for removal of Cryptosporidium.

Water Loss

In the water loss audit submitted to the Texas Water Development Board for the time period of

January 1 to December 31 2024, our system lost an estimated 110,668,138 gallons of water or 14%.

The national average water loss in systems is 16%. If you have any questions about the water loss audit,

Please call Public Works Department at (940) 668-4540.

Lead Service Line Inventory

After a comprehensive inspection conducted in compliance with the U.S. Environmental Protection Agency (EPA) guidelines for Lead and Copper Rule Improvements (LCRI), the City of Gainesville determined there are no existing lead pipes in the public water distribution system. Lead and Copper testing is completed every three years as required.

More information about our source of drinking water can be found on these TCEQ Sites:

Source Water Assessment link: For UCMR 5 result site listed below.  https://gisweb.tceq.texas.gov/swav/Controller/index.jsp?wtrsrc

Drinking Water Watch link:

http://dww.tceq.texas.gov/DWW/

UCMR 5 Data Finder

https://www.epa.gov/dwucmr/fifth-unregulated-contaminant-monitoring-rule-data-finder#data-finder